# CITY OF MONDAMIN

SPECIAL CITY COUNCIL MEETING MINUTES

Mondamin City Hall

Thursday, September 12, 2024

6:00 P.M.

1.  Opening of Meeting

- Mayor Jamie Howrey called the meeting to order at 6:02 p.m., leading those present in the Pledge of Allegiance.

- Roll Call   Council members present: John Glennie, Karen Breyfogle, and Mary Seago. Chad Wilson arrived at 6:05 p.m. Absent: Jim Rains. Staff present: Alyx Hirst. Public present: None.

- Approval of Agenda   Motion made to approve agenda by K. Breyfogle, with a second by M. Seago. Motion carried 3-0.

2.  Public Comments   None

3.  New Business

- Council review and consideration of Change Order No. 3 (RP Constructors), Project 180263.01 (water plant project), in the amount of $-19,096.29. Change Order No. 3 subject to USDA review and concurrence.  K. Breyfogle motioned to approve Change Order No. 3 in the amount of a reduction of $19,096.29 and it was seconded by J. Glennie.  Motion carried 4-0. For Change Order No. 3, the contractor had additional length of pipe for installation throughout the water main. There were additional water service connections to the new water main that were not accounted for in the original bid estimate that the Contractor installed. Contractor did not disturb as much pavement or sidewalk as was originally designed so there is a deduct amount that the City does not have to pay for. During construction of the street towards the water treatment plant there was a determination to save additional budget and not install concrete pavement past the gravel road going to the north well. Each 15” culvert pipe needs to be extended 3 feet south to provide additional clearance away from the edge of roadway heading to the new plant. The last item is the additional repair work on the sanitary service line and alternate route the water main had to go when the boring contractor hit an unmarked residential service line.

- Council review and consideration of Change Order No. 1 (Armodus), Project 180263.01 (water meter project), in the amount of $7,380.82. Change Order No. 1 subject to USDA review and concurrence.  M. Seago motioned to approve Change Order No. 1 in the amount of $7,380.82 and it was seconded by K. Breyfogle. Motion carried 4-0. For Change Order 1, the contractor had to purchase two additional 2” water meters for the water treatment plant and the water salesman that is in the manhole outside the water tower. This was included in their scope of work in the specifications but there was no bid item listed for this. The City is paying for the procurement of the meter and connection equipment in this Change Order and will pay for the transmitter at a later date. There were also an additional 8-meter pit radio transmitters that were installed in town.

- On-call time worked by the city clerk   Discussion. Table.

4.  Other Business   Discussion regarding dangerous and dilapidated properties. No action taken.

5.  Adjourn   Having no further business to conduct, M. Seago made a motion to adjourn the meeting. Seconded by K. Breyfogle. Motion carried 4-0. The meeting was adjourned at 6:30 p.m.

These minutes are as recorded by the Mondamin City Clerk and subject to approval at the next regular city council meeting.

Attest:

Alyx Hirst

City Clerk, City of Mondamin